喷雾式富氧水仪在改善面部寻常痤疮皮损中的应用

程党党1 ，王飞飞1 ，莫隽颖2 ，殷 政2 ，王 勤1 ，唐 杰1

（1.上海际研生物医药开发有限公司 上海 201702；2.云南贝泰妮生物科技集团股份有限公司 云南 昆明 650106）

[摘要]目的：设计一种可用于面部护理的喷雾式富氧水仪，并对其在改善面部寻常痤疮中的临床效果进行探究。方法：筛选 30例寻常痤疮患者入组，连续使用富氧水仪进行面部护理，采用自身前后对照方式，于使用前（D0）、使用7 d（D7）、使 用14 d（D14）进行仪器测量、临床医生评估和患者自评，并观察改善效果。结果：使用富氧水仪14 d后，患者面部寻常痤疮 的面积、体积、红区面积占比以及临床ISGA评分和皮损总数均呈现显著性下降，研究期间无不良反应发生。结论：使用喷雾 式富氧水仪进行面部护理，对改善面部寻常痤疮皮损有效。

[关键词]富氧水；寻常痤疮；痤疮丙酸杆菌；临床研究；面部护理

[中图分类号]R758.733 [文献标志码]A [文章编号]1008-6455（2023）05-0120-04

Application of Super Oxygen Enriched Water Instrument in the Treatment of Acne CHENG Dangdang1 ,WANG Feifei1 ,MO Junying2 ,YIN Zheng2 ,WANG Qin1 ,TANG Jie1

(1.Shanghai Jiyan Bio-pharmaceutical Co.,Ltd.,Shanghai 201702,China; 2.Yunnan Botanee Bio-technology Group Co.,Ltd.,Kunming 650106,Yunnan,China)

Abstract: Objective To design a spray instrument of super oxygen enriched water based on micro-nano bubble technology and to evaluate its anti-acne effi cacy. Methods 30 patients with a clinical diagnosis of acne were selected and they did facial care with the instrument for a certain time according to the experimental requirements. The facial skin parameters of the subjects before and after the study were compared and analyzed through non-invasive instrumental testing, doctor’s assessment and self-assessment. Results The results showed that the acne area, acne volume, acne red area proportion, ISGA score and lesions counting were signifi cant decrease from the initial data after 14 days. There were no adverse reactions during the whole study. Conclusion Facial care by oxygen enriched water instrument is an eff ective way for anti-acne.

Key words: oxygen enriched water; acne; propionibacterium acnes; clinical study; facial care