基于聚己内酯微球的胶原刺激填充剂的基础及临床研究进展

黄乃艳1 贾 康2 综述，刘红梅1 审校

（北京梅颜医疗美容诊所1.美容皮肤科；2.美容外科 北京 100027）

[摘要]近年来，随着注射微整形需求量的增加，填充剂的类型也不断出现。一种基于聚己内酯微球（Polycaprolactone,PCL） 的填充剂伊妍仕（Ellansé®）刚刚获批进入中国市场，是新一代的胶原刺激剂，具有即刻填充、刺激自身胶原新生的作 用。本文综述了基于PCL的填充剂的结构、生物降解途径和生物安全性，并对其基础研究和临床应用进行了详细的描述，以 期为临床医生的使用提供参考。

[关键词]聚己内酯微球；填充剂；胶原刺激剂；适应证；安全性

[中图分类号]R622 [文献标志码]A [文章编号]1008-6455（2023）10-0201-04

The Fundamental and Clinical Research Progress on Polycaprolactone (PCL) -Based Collagen-Stimulator

HUANG Naiyan1 ,JIA Kang2 ,LIU Hongmei1

(1.Department of Cosmetic Dermatology; 2.Department of Cosmetic Surgery,MEIYAN Aesthetic Plastic Medical Clinic,Beijing 100027,China)

Abstract: In recent years, as the demand for injection microplastic surgery has increased, types of fi llers have also continued to appear. Ellansé, a fi ller based on polycaprolactone (PCL) microspheres, has just been approved to enter the Chinese market. It is a new generation of collagen stimulant that can instantly fi ll and stimulate its own collagen regeneration. This article reviews the structure, biodegradation pathways and biosafety of PCL-based fillers, and provides a detailed description of its basic research and clinical applications in order to provide references for clinicians' use.

Key words: polycaprolactone; fi ller; collagen stimulator; indication; safety